## General
misc

person	my requests	requests from others		date requested	date completed		notes

sioan	go over link for scheduling.	start reaching out to POCs		06/30/17	never		https://pswww.slac.stanford.edu/questionnaire_slac/run15/

omar	nomachine support			06/30/17	06/30/17		really fast. Needed to start using virtual desktop
SLAC IT	bit locker is a pain and magnifying utility on windows pc			06/29/17			INC0150913
Heiman		ipython not plotting		06/29/17			maybe x11 (xming) forwarding wasn’t turned on
moeller		amo elog very slow		06/22/17
ovelman		cables arrived		06/26/17
o'grady	base line status of psnehfarm nodes			06/27/17
schlotter		Archive Viewer		6/21/2017 21:29	22-Jun
damiani	acqiris communication		operations	6/21/2017	06/21/17
stephan moeller		documentation for trippel from previous experiment	operations	6/21/2017
timur	crappy amo data		L2S-I	6/21/2017	6/21/2017		no crappy data saved. Georgi has data in LL72 and LO59
philip heimann		data retrieval	L2S-I	6/20/2017	6/20/2017		mydata = genfromtxt("sxrlq7615Run232Acquirisi0.txt",invalid_raise=False)
philip heimann		data retrieval	L2S-I	6/19/2017	6/19/2017
philip heimann		data retrieval	L2S-I	11/28/2017	11/28/2017

hart	what does imperfect mean?			06/27/17
hart		copying pnccd gain correction to calibration folder. Requested to hold off.		06/27/17
hart	following up on above	copying pnccd gain correction to calibration folder. Requested to hold off.		06/29/17

omar	computer with pcie			05/04/17	06/19/17

## LQ27
LQ27	start	6/23/2017

person	my requests	requests from others		date requested	date completed		notes

Alex Reid		Andor Camera		06/30/17	06/30/17		forwarded email to damiani
Alex Reid		rci motor trouble shooting		06/29/17	06/29/17		forgot to search through epics config/release to track down motor record work. Also # is string replace in db file. Final solution was piezo motor driver swap
browne	rci motor trouble shooting			06/29/17
Eric Edwards	reach out for data analysis			06/27/17			initiating conversation for dataanalysis

Alex Reid	data analysis planning

Eric Edwards		getting account setup		04/26/17	05/17/17		not sure who dropped the ball. It got solved by Andrea eventually

Andrea Chan	eric edwards account (requested by alex)			04/27/17	05/17/17

LQ76	start	6/23/2017

damiani	shared mem transfer to sxr		operations	?	6/11/2017		daq-sxr-mon06 communicates to control room over port 12301
damiani	pcaspy		operations	?	6/11/2017
turner/alberto		shared mem to accelerator	operations	6/5/2017	6/16/2017

## Detectors
person	my requests	requests from others		date requested	date required	date completed		notes

kaz	box to control wave8			06/27/17				Pre-req for experiment below
kaz		Wave 8 integration into the daq and controls. Follow up with phil heimann	L2S-I	06/27/17	07/12/17			can use xpp or mfx daq code as reference. Is fast (shot by shot). Daq-sxr-pgp01 in switch rack 22 in back of hutch. Final test on 18th
hart		gpib/ethernet trouble shooting	operations	6/20/2017

## LQ14
LQ14	start	7/13/2017

person	my requests	requests from others		date requested	date completed		notes
moeller		pumping and gauge problems		06/30/17 03:40 PM
trippel		debug AMO 25 ns acqiris jitter		06/21/17
Trippel	Banging for motor and data and controls			06/26/17	06/27/17		they'yre bringing their own motors. Didn't respond to data requests
Moeller		Double VMI w/ high voltage		6/22/2017
Moeller		MCP phosphor screen readout and camera		6/22/2017
Moeller		two remote desktops one for laser one for control		6/22/2017
Moeller		bang on trippel for motor description		6/22/2017	06/26/17
Moeller		web cams		6/22/2017
Moeller		remote desktop to SXR		6/22/2017
Moeller		opal on the time tool is working		06/22/17

## X229
X229	start	6/23/2017

person	my requests	requests from others		date requested	date completed		notes
paheim		get MCP data parasitically from experiment		06/26/17	06/27/17

hart		copying calibration data to current and coming experiments		06/27/17	06/27/17		forwarded to loic
schlotter		modify collaborators (Loic's) code		6/22/2017	6/22/2017
schlotter		Add new Newport stages		6/23/2017	6/23/2017
schlotter		Lakeshore read back temp		6/23/2017	6/23/2017
schlotter		diode manipulator position to EPICSarch so they will appear in the DAQ		6/23/2017	6/23/2017
schlotter		Test the DAQ with pnCCD, epicsArch and Acqiris channels all included		6/23/2017	6/23/2017
schlotter		Sioan can you help Kevin with getting NoMachine to work		6/23/2017
schlotter		Test Mikhail’s program to see if you can get the correlation coefficients vs. time		6/23/2017			one day of debugging is insufficient
schlotter		The Newport stages are working well and thank you Scott for making the more compact epics screen. Is there any way to open the Newport motors in their own window without having to scroll down each time		6/23/2017	6/23/2017

giacomo		remote ami not working		06/25/17	06/26/17		/reg/g/pcds/dist/pds/sxr/ami-current/build/ami/bin/x86_64-linux-opt/online_ami -p 0 -s 172.21.39.87 -C mono,jet
giacomo		new laser daq laptop and stand		06/25/17

## deKnob
deknobification
	duplication
	ordering parts	charachterization	filter design
		network analysis

## L2S-I
L2S-I

person	my requests	requests from others		date requested	date completed		notes

Flath/Fouss		controls diagram for AMO		6/23/2017			for how controls will coordinate

## Reading
to read and understand

		url

psana details of mca flag		https://www.open-mpi.org/faq/?category=tuning

navigating ganglia		https://pswww.slac.stanford.edu/system/ganglia/?r=4hr&cs=&ce=&m=load_one&s=by+name&c=FFB+Filesystems&h=&host_regex=&max_graphs=0&tab=m&vn=default&hide-hf=false&sh=1&z=small&hc=4

## questions
		url

Data flow?

## acronyms
MPI	message passing interface		https://www.open-mpi.org/faq/?category=general		tutorial here https://www.citutor.org/login.php?course=21

btl	byte transfer layer		https://www.open-mpi.org/faq/?category=tuning		used for mpi point to point

mca	modular component architecture				frameworks, components, and modules that are assembled at run-time to create an MPI implementation